Objectives:
To determine experimentally the validity of Reynolds Analogy (St = f/2) for air and also to compare the experimental values of Nu, St, f with those given by empirical formulae.

Introduction:

This experiment enables to investigate the theory and associated formulae related to forced convection in pipes. Measured experimental data enables to calculate the heat transfer (film) coefficient "h", the pipe friction "f" and various non-dimensional groups including Reynolds Number "Re", Nusselt Number "Nu" and Stanton Number "St". The values obtained can be compared with those derived from accepted empirical formulae and the validity of Reynolds analogy may be explored.

Apparatus:

· Description: the apparatus consists of an electrically driven centrifugal fan which draws air through a control valve and discharges into a 76.2 mm diameter, U-shaped pipe. The fan speed remains constant throughout. A British Standard orifice plate 40 mm diameter is fixed in the pipe to measure the air flow rate. This pipe is connected to a copper test pipe which is 3048 mm long, 32.6 mm internal diameter and has a wall thickness of 1.20 mm. The test pipe, which discharges to atmosphere, is electrically heated over the final 1753 mm by a heating tape wrapped around the outside of the pipe. The power input to the tape can be varied by means of variable transformer fitted to the apparatus, the input being measured with the aid of a voltmeter and ammeter fixed to the instrument panel. The test pipe is insulated with 25 mm thick fiberglass lagging. All the pipe work rests on wooden blocks supported by the steel frame of the apparatus.

A 1524 mm test length, situated within the heated length of the test pipe, has pressure tapping at each end which is connected to a water manometer on the instrument panel. Other manometers fixed to the instrument panel measure fan discharge pressure and the orifice pressure drop.

Seven thermocouples (number 1 to 7) are fixed to the wall of the copper test pipe at various points along the heated length. A further six thermocouples (number 8 to 13) are situated at points within the lagging. The positions of all the thermocouples are shown on a diagram displayed on instrument panel. A mercury in glass thermometer measures the air temperature at the inlet to the test pipe. The output from any thermocouple may be chosen with a selector switch fitted to the instrument panel and measured with an electronic thermometer or potentiometer.

· Particulars of the apparatus:

	Orifice plate diameter
	40 mm

	Pipe internal diameter
	32.6 mm

	Pipe wall thickness
	1.20 mm

	K for pipe material (copper)
	360.6 W/m.k

	Thickness of lagging
	25 mm

	K for pipe lagging material
	0.0415 W/m.k

	Heated length of pipe
	1753 mm

	Thermocouple material
	Copper Constantan to B.S. 1828

	The pressure tappings on the pipe are at 51 mm and 1575 mm fro the exit.

	Electrical supple: 380/440 V, 3 phase neutral earth. 50 Hz, 15 Amp, as standard.

	Maximum allowable tube temperature; 150 oC (thermocouples 1 to 7)

	Test tube dimensions:

	Tube bore
	31.75 mm

	Wall thickness
	4.63 mm

	Lagging thickness

	19.0 mm


Theory:-

1. MASS FLOW RATE:

Air mass flow rate, 
[image: image1.wmf]´

=

r

m

&

orifice area 
[image: image2.wmf]r

p

C

d

D

´

2

 kg/s

Where, Cd = 0.613 (the orifice discharge coefficient)

              ( = air density at orifice (kg/m3)

            (p = pressure drop across orifice (N/m2)

For determining (p, it may be noticed that 1mm of water = 9.81 N/m2.

2. HEAT FLUX:

Heat input by heating tape,


[image: image3.wmf]kW

Volts

Amps

Q

99

.

0

1000

220

5

.

4

1000

1

=

´

=

´

=


Heat lost through lagging,


[image: image4.wmf](

)

kW

lagging

across

drop

temp

mean

r

r

Q

i

o

ú

û

ù

ê

ë

é

´

´

=

.

ln

753

.

1

2

1000

0415

.

0

2

p


Where ri and ro are the inside and outside radii of the lagging

Heat flux through tube wall, 


[image: image5.wmf]area

 

 wall

pipe

 

internal

2

1

Q

Q

-

=

F


The heat flux is required in calculating the heat transfer coefficient, "h". Heat conduction along the copper tube does not contribute to the heat flux since, for a given section, the heat flowing in at one end will be equal to the heat flowing out at the other end.
1. MEAN AIR TEMPERATURE AT CHOSEN HEAT TRANSFER SECTION:
The thermocouple positions are shown on the diagram on the instrument panel. From the temperature readings it will be seen that the section between 2 and 5 is free of exit and entrance effects. It suggested that the heat transfer calculations are made around section 4. The total heat input up to this point per second can be calculated and hence the bulk mean air temperature at this point. Total heat input includes heat input by the heating tape plus heat input by conduction in the pipe less the heat lost through the lagging.

Heat input by conduction, 


[image: image6.wmf](

)

kW

m

rt

Q

0

.

1

L

drop

 

e

temperatur

10

2

1000

6

.

380

4

6

3

=

´

´

=

p

 

Where, r = mean radius of copper (mm)

             t = wall thickness (mm)

          L4 = length of heated section (m)


[image: image7.wmf](

)

[

]

mm

r

mean

9

.

16

2

2

2

2

.

1

6

.

32

6

.

32

=

´

+

+

=



[image: image8.wmf](

)

kW

Q

00068

.

0

0

.

1

75

-

89

10

2

.

1

9

.

16

2

1000

6

.

380

6

3

@

´

´

´

´

=

p


Total heat input up to chosen section = 
[image: image9.wmf](

)

(

)

kW

Q

b

Q

Q

3

2

1

1753

+

´

-



[image: image10.wmf]mm

b

1282

=


Total heat input up to "b" = 
[image: image11.wmf](

)

kW

70172

.

0

00068

.

0

1753

1282

0314

.

0

990

.

0

@

+

´

-


Where "b" is length of heated pipe up to chosen section (mm). The bulk mean air temperature, 


[image: image12.wmf]C

T

T

o

i

b

48

00716

.

1

04142

.

0

70172

.

0

31

C

rate

 

flow

 

mass

input 

heat 

 

total

p

@

´

+

=

´

+

=


Where, Ti = air inlet temperature

           Cp = specific heat of air at inlet temperature 

2. HEAT TRANSFER COEFFICIENT:

Heat transfer coefficient, h = 
[image: image13.wmf](

)

(

)

K

m

W

T

T

b

w

.

227

.

130

48

89

10

3393

.

5

Flux

Heat 

2

3

@

-

´

=

-


The wall temperature Tw will be given by the thermocouple at the point at which heat balance is taken or from the graph of wall temperature against pipe length.

3. EXPERIMETAL VALUES OF "Nu", "St", and "f":

· Nusselt Number,

Nu = h*d/kf = 
[image: image14.wmf]154

10

632

.

27

0326

.

0

227

.

130

3

@

´

´

-


· Stanton Number,

St = h / ( 
[image: image15.wmf]r

 * V * Cp )


[image: image16.wmf]c

mean

A

m

V

.

r

&

=



[image: image17.wmf]ature

air temper

Mean 

0.2871

  

plane

 

PITOT

in 

 

pressure

 

Static

´

=

r


Mean air temperature = Inlet air temperature + temperature rise

Mean air temperature rise = 
[image: image18.wmf]1753

.

factor

 

loss

Heat 

.

(kg/s)

 

rate

 

flow

 

Mass

(kW)

 

rate

Input 

Heat 

b

C

p


Where "b" is the length of heater tape up to the PITOT plane (=1477 mm) and the heat loss factor may be taken as 0.94 or as determined.

Procedure:
Switch on the fan with the inlet valve fully open. When this has been done, the heater can be switched on with the variable transformer set at zero. Increase the voltage to give a maximum current of about 4.5 A. Leave the apparatus to warm up for at least thirty minutes to attain steady temperature conditions. The maximum tube temperature (thermocouples 1 to 7) should not exceed 150 oC.
On completion of the testing, the fan should be allowed to run for at least five minutes after the heater is switched off in order to avoid overheating the thermocouples.
Data:-:

	Room temperature
	18 oC

	Barometric pressure
	0.890 bar

	Air inlet temperature
	28 oC

	Fan pressure
	50cm H2O

	Orifice pressure drop
	39 cm H2O

	Test length pressure drop
	14 cm H2O

	Heater current
	4.5 A

	Heater voltage
	220 V


Temperatures measured:-

	Reference Number
	Actual T oC
	(T across lagging oC

	1
	69.0
	---

	2
	74.5
	

	3
	79.4
	

	4
	82.6
	

	5
	83.3
	

	6
	86.1
	

	7
	86.7
	

	8
	88.2
	51.5

	9
	36.7
	

	10
	109.2
	59.2

	11
	50.0
	

	12
	109.7
	59.1

	13
	50.6
	


· Temperature profile along the tube:
[image: image19.png]Temperature (°C)

100

Temperature profile along test tube

40

B0 60 1000
Position on test tube Tmm)

200

400

600




· Temperature difference across the lagging:

[image: image20.png]



Calculations:
1. MASS FLOW RATE:

[image: image21.wmf](

)

(

)

(

)

3

3

3

i

inlet

absolute

m

/

kg

0916

.

1

15

.

304

287

.

0

287

.

95

15

.

273

31

287

.

0

10

10

3

.

101

899

.

0

81

.

9

430

RT

Pressure

 

Barometric

 

 

Pressure

Fan 

RT

P

@

´

=

r

\

+

´

´

´

´

+

´

=

+

=

=

r

-



[image: image22.wmf](

)

s

kg

m

/

04142

.

0

0916

.

1

81

.

9

135

2

613

.

0

04

.

0

4

0916

.

1

2

@

´

´

´

´

´

=

p

&

 

2. HEAT FLUX:
Heat input by heating tape,


[image: image23.wmf]kW

Volts

Amps

Q

99

.

0

1000

220

5

.

4

1000

1

=

´

=

´

=


Heat lost through lagging,


[image: image24.wmf](

)

kW

lagging

across

drop

temp

mean

r

r

Q

i

o

ú

û

ù

ê

ë

é

´

´

=

.

ln

753

.

1

2

1000

0415

.

0

2

p


Where ri and ro are the inside and outside radii of the lagging.

[image: image25.wmf](

)

(

)

(

)

(

)

kW

Q

mm

r

mm

r

C

T

T

T

T

T

T

lagging

across

drop

temp

mean

o

i

o

0314

.

0

61

5

.

17

5

.

42

ln

753

.

1

2

1000

0415

.

0

5

.

42

0

.

25

5

.

17

&

5

.

17

2

.

1

2

6

.

32

61

3

66

62

55

3

.

2

13

12

11

10

9

8

=

´

´

´

=

\

=

+

=

=

+

=

=

+

+

=

-

+

-

+

-

=

ú

û

ù

ê

ë

é

p


Heat flux through tube wall, 


[image: image26.wmf](

)

2

2

1

3393

.

5

753

.

1

0326

.

0

0314

.

0

990

.

0

area

 

 wall

pipe

 

internal

m

kW

Q

Q

@

´

-

=

-

=

F

p


3. MEAN AIR TEMPERATURE AT CHOSEN HEAT TRANSFER SECTION:
The thermocouple positions are shown on the diagram on the instrument panel. From the temperature readings it will be seen that the section between 2 and 5 is free of exit and entrance effects. It suggested that the heat transfer calculations are made around section 4. The total heat input up to this point per second can be calculated and hence the bulk mean air temperature at this point. Total heat input includes heat input by the heating tape plus heat input by conduction in the pipe less the heat lost through the lagging.

Heat input by conduction, 


[image: image27.wmf](

)

kW

m

rt

Q

0

.

1

L

drop

 

e

temperatur

10

2

1000

6

.

380

4

6

3

=

´

´

=

p

 
Where, r = mean radius of copper (mm)

             t = wall thickness (mm)

          L4 = length of heated section (m)


[image: image28.wmf](

)

[

]

mm

r

mean

9

.

16

2

2

2

2

.

1

6

.

32

6

.

32

=

´

+

+

=



[image: image29.wmf](

)

kW

Q

00068

.

0

0

.

1

75

-

89

10

2

.

1

9

.

16

2

1000

6

.

380

6

3

@

´

´

´

´

=

p


Total heat input up to chosen section = 
[image: image30.wmf](

)

(

)

kW

Q

b

Q

Q

3

2

1

1753

+

´

-



[image: image31.wmf]mm

b

1282

=


Total heat input up to "b" = 
[image: image32.wmf](

)

kW

70172

.

0

00068

.

0

1753

1282

0314

.

0

990

.

0

@

+

´

-


Where "b" is length of heated pipe up to chosen section (mm). The bulk mean air temperature, 


[image: image33.wmf]C

T

T

o

i

b

48

00716

.

1

04142

.

0

70172

.

0

31

C

rate

 

flow

 

mass

input 

heat 

 

total

p

@

´

+

=

´

+

=


Where, Ti = air inlet temperature

           Cp = specific heat of air at inlet temperature 
4. HEAT TRANSFER COEFFICIENT:

Heat transfer coefficient, h = 
[image: image34.wmf](

)

(

)

K

m

W

T

T

b

w

.

227

.

130

48

89

10

3393

.

5

Flux

Heat 

2

3

@

-

´

=

-


The wall temperature Tw will be given by the thermocouple at the point at which heat balance is taken or from the graph of wall temperature against pipe length.

5. EXPERIMETAL VALUES OF "Nu", "St", and "f":

· Nusselt Number,
Nu = h*d/kf = 
[image: image35.wmf]154

10

632

.

27

0326

.

0

227

.

130

3

@

´

´

-


· Stanton Number,

St = h / ( 
[image: image36.wmf]r

 * V * Cp )


[image: image37.wmf](

)

s

m

A

m

V

c

mean

/

45

0326

.

0

4

0916

.

1

04142

.

0

.

2

@

´

=

=

p

r

&



[image: image38.wmf]ature

air temper

Mean 

0.2871

  

plane

 

PITOT

in 

 

pressure

 

Static

´

=

r



[image: image39.wmf](

)

kPa

 

99.328

1000

9.81

146

1524

276

 

99.0687

 

 

plane

 

PITOT

in 

 

pressure

 

Static

drop

 

pressure

length 

 test 

*

 

(276/1524)

 

 

pressure

 

Barometric

 

plane

 

PITOT

in 

 

pressure

 

Static

K

 

322

 

 

C

49

18

31

ature

air temper

Mean 

18

1753

1477

008

.

1

94

.

0

04142

.

0

0.0314

-

0.99

rise

 

ature

air temper

Mean 

o

@

´

´

+

=

+

=

=

=

+

=

Þ

@

´

´

=

\

C

o



[image: image40.wmf]3

/

07444

.

1

322

2871

.

0

328

.

99

m

kg

=

´

=

Þ

r



[image: image41.wmf]3

3

10

6721

.

2

10

008

.

1

45

07444

.

1

227

.

130

-

´

@

´

´

´

=

\

St


· Calculation of friction factor "f", using the simple equation:

P1 – P2 = (2f L / d ) * 
[image: image42.wmf]r

 * V2 


[image: image43.wmf]3

2

2

10

0407

.

7

45

07444

.

1

524

.

1

2

0326

.

0

81

.

9

146

.

.

2

.

-

´

=

´

´

´

´

´

=

D

=

V

L

d

P

f

r



[image: image44.wmf](

)

ú

û

ù

ê

ë

é

+

-

+

=

-

2

1

1

2

2

2

2

1

ln

2

4

1

p

p

T

T

T

d

fL

A

W

p

p

r



[image: image45.wmf]3

2

2

2

10

9657

.

5

99000

26

.

1432

1

ln

322

31

48

6

.

32

2

1524

4

0326

.

0

4

04142

.

0

07444

.

1

1

81

.

9

146

-

´

=

Þ

ú

û

ù

ê

ë

é

÷

ø

ö

ç

è

æ

+

+

-

+

´

´

÷

ø

ö

ç

è

æ

´

=

´

f

f

p


· Reynolds Number,


[image: image46.wmf]81034

10

512

.

194

0326

.

0

45

07444

.

1

Re

7

@

´

´

´

=

=

-

m

r

d

V

 (Turbulent)

6. CALCULATION OF "Nu", "St" and "f" USING NORMALLY ACCEPTED EXPRESSIONS:
Nu = 0.023 Re0.8 Pr0.4

[image: image47.wmf]169

70406

.

0

81034

023

.

0

Nu

4

.

0

8

.

0

@

´

´

=


St = 0.023 Re-0.2 Pr -0.6

[image: image48.wmf]3

6

.

0

2

.

0

10

9609

.

2

70406

.

0

81034

023

.

0

St

-

-

-

´

=

´

´

=


f = 0.079 Re-¼ (Turbulent region only)


[image: image49.wmf]3

-¼

10

6823

.

4

81034

0.079

f

-

´

=

´

=


Theoretical values:-
It may be noted that Prandtl number (Pr =
[image: image50.wmf]k

C

p

m

) and has almost the same value for all gases and varies very little with temperature and pressure.

Reynolds analogy is based on the assumption that Pr = 1, and may be written as:

Nu = (f/2) Re = 
[image: image51.wmf]190

81034

2

10

4.6823

-3

@

´

´


Since St =
[image: image52.wmf]Pr

.

Re

Nu

, it follows that:

St = (f/2) = 
[image: image53.wmf]3

3

10

34115

.

2

2

10

6823

.

4

-

-

´

=

´


By substituting in the equation (St = 0.023 Re-0.2 Pr -0.6) and putting Pr = 1, we obtain an alternative formula from which "f" can be calculated:

f = 0.046 Re-0.2 = 
[image: image54.wmf]3

2

.

0

10

7976

.

4

81034

046

.

0

-

-

´

=

´


"Values are obtained from these equations can be compared with experimental values."
Summary of Results:-
	Total heat input
	0.70172
	kW

	Heat lost through lagging
	0.0314
	kW

	Heat flux
	5.3393
	kW/m2

	Heat input by conduction
	0.00068
	kW

	Bulk mean air temperature
	48
	oC

	Heat transfer coefficient
	130.227
	kW/m2 oC

	Experimental friction factor ignoring acceleration
	7.0407
[image: image55.wmf]3

10

-

´


	

	Calculated friction factor considering acceleration
	5.9657
[image: image56.wmf]3

10

-

´


	

	Calculated friction factor
	4.6823
[image: image57.wmf]3

10

-

´


	

	Prandtl Number
	0.70406
	

	Reynolds number
	81034
	

	Experimental Nusselt number
	154
	

	Calculated Nusselt number
	169
	

	Experimental Stanton number
	
[image: image58.wmf]3

10

6721

.

2

-

´


	

	Calculated Stanton number
	
[image: image59.wmf]3

10

9609

.

2

-

´


	

	St by Reynolds analogy
	
[image: image60.wmf]3

10

34115

.

2

-

´


	


Discussion and Conclusions:-

· Experimental values are within the acceptance range compared with theoretical values.
· Errors in this experiment are due to many source s such as ( temperature measuring, not reaching steady state,…etc).
_1097468165.unknown

_1097473993.unknown

_1097477362.unknown

_1097477461.unknown

_1099820333.unknown

_1192099960.unknown

_1192100267.unknown

_1097477483.unknown

_1097477491.unknown

_1097477471.unknown

_1097477429.unknown

_1097477441.unknown

_1097477435.unknown

_1097477386.unknown

_1097477408.unknown

_1097474192.unknown

_1097475377.unknown

_1097475772.unknown

_1097475890.unknown

_1097475519.unknown

_1097475307.unknown

_1097474160.unknown

_1097471554.unknown

_1097473597.unknown

_1097473941.unknown

_1097473919.unknown

_1097473474.unknown

_1097468347.unknown

_1097468525.unknown

_1097468807.unknown

_1097470955.unknown

_1097468426.unknown

_1097468314.unknown

_1097467890.unknown

_1097467958.unknown

_1097468117.unknown

_1097467902.unknown

_1097291771.unknown

_1097293921.unknown

_1097296713.unknown

_1097377617.unknown

_1097296568.unknown

_1097291857.unknown

_1097289329.unknown

_1097289247.unknown

